🩺

AI Fetal Ultrasound Analyzer

Project Report

EfficientNet-B2  +  Gemini 2.5 Flash

| 97.15% Test Accuracy | 5,265 Total Samples | 4 Classes AC / BPD / FL / NO | 2 Engines EfficientNet+Gemini |
| --- | --- | --- | --- |

# 1. Problem Statement

During pregnancy, doctors use ultrasound scans to monitor baby growth. These scans capture critical body parts — head, abdomen, and thigh bone — that require years of medical training to interpret accurately. Non-experts find it very difficult to understand what they are looking at.

Our Goal

Build an AI tool that automatically identifies which body part is shown in an ultrasound image and provides useful information about the baby's position.

# 2. Classification Labels

The AI classifies each ultrasound image into one of four categories based on the anatomical plane visible:

| Label | Full Name | Body Part | Clinical Purpose |
| --- | --- | --- | --- |
| AC | Abdominal Circumference | Tummy (Abdomen) | The scan is showing the baby's belly area. Doctors use this view to estimate weight and growth. |
| BPD | Biparietal Diameter | Head | The scan is showing the baby's head. Doctors use this view to check brain development and age. |
| FL | Femur Length | Thigh Bone (Femur) | The scan is showing the baby's thigh bone. Doctors use this view to check bone growth and age. |
| NO_PLANE | No Standard Plane | Unknown | The image is unclear or does not show a standard measurement view. |

# 3. Dataset Overview

The model was trained and evaluated on a labelled fetal ultrasound dataset of 5,265 images, distributed across four classes as shown below.

| AC_PLANE 1,386 images 26.3% of dataset | NO_PLANE 1,318 images 25.0% of dataset | FL_PLANE 1,281 images 24.3% of dataset | BPD_PLANE 1,280 images 24.3% of dataset |
| --- | --- | --- | --- |

The dataset is well-balanced across all four classes, ensuring no significant class imbalance bias during training.

4. Solution Architecture

The system combines two AI engines to deliver a complete and reliable analysis of fetal ultrasound images.

| 🔬 EfficientNet-B2 Deep learning model trained on ultrasound images. Identifies the body part and returns a confidence score. | 🤖 Gemini 2.5 Flash (LLM) Google's multimodal AI. Determines baby position and draws a bounding box on the image. |
| --- | --- |

## 4.1 Without LLM — EfficientNet Only

Upload Image → EfficientNet-B2 → Outputs Biological Plane ¦ Body Part Name ¦ Confidence Score

| ✅ Available Outputs • Biological Plane • Detected Body Part • Confidence Score (e.g., 98.50%) | ❌ Not Available • Baby position / orientation • Bounding box on image |
| --- | --- |

## 4.2 With LLM — Full System (5 Outputs)

Upload Image ↙ ↘ EfficientNet-B2 + Gemini 2.5 Flash ↘ ↙ Final Dashboard — All 5 Outputs

✅ Full Output Suite • Biological Plane • Detected Body Part • Confidence Score • Baby Orientation • Bounding Box on Image

5. Model Accuracy & Performance

## 5.1 Model Details

| Detail | Value |
| --- | --- |
| Model Name | EfficientNet-B2 |
| Framework | TensorFlow / Keras |
| Total Classes | 4 (AC_PLANE, BPD_PLANE, FL_PLANE, NO_PLANE) |
| Input Size | 224 × 224 pixels |
| Total Samples | 5,265 labelled images |

## 5.2 Training & Testing Results

| Metric | Accuracy | Loss |
| --- | --- | --- |
| Training (Final Epoch) | 93.96% | 0.4975 |
| Validation (Final Epoch) | 94.73% | 0.4771 |
| Testing | 97.15% | 0.4433 |

## 5.3 Test Accuracy Summary

## 6. Classification Report

## 6.1 Per-Class Metrics

Detailed Precision, Recall, and F1-Score for each category, evaluated on 527 test samples.

| Class | Precision | Recall | F1-Score | Support |
| --- | --- | --- | --- | --- |
| AC_PLANE | 0.96 | 0.99 | 0.98 | 139 |
| BPD_PLANE | 0.98 | 1.00 | 0.99 | 128 |
| FL_PLANE | 0.97 | 0.98 | 0.98 | 128 |
| NO_PLANE | 0.98 | 0.91 | 0.94 | 132 |
| Overall Accuracy | — | — | 0.97 | 527 |
| Macro Avg | 0.97 | 0.97 | 0.97 | 527 |
| Weighted Avg | 0.97 | 0.97 | 0.97 | 527 |

## 6.2 Per-Class Metric Comparison Chart

# 7. Confusion Matrix

The confusion matrix below visualises the model's predictions versus the true labels on the test set. The strong diagonal demonstrates high classification accuracy across all four planes.

End of Report

This document was generated from AI Fetal Ultrasound Analyzer project data. Model: EfficientNet-B2 ¦ LLM: Gemini 2.5 Flash ¦ Dataset: 5,265 images ¦ Test Accuracy: 97.15%